Practical steps when working with licensed asbestos assessors and removal contractors

This tool aims to help schools and early learning services (ELS) review their current procedures and determine next steps when working with licensed asbestos assessor and removalist contractors. The steps align with the Ministry’s current guidance.

Asbestos in coloured sand - Ministry of Education

This is an additional, voluntary tool you can use to help guide decision-making at your school or ELS – it's an option, not a requirement.

| Q1 | Has there been an assessment performed by a Licensed Asbestos Assessor? | ☐ - Yes | Proceed to Question 2 |
| --- | --- | --- | --- |
|  |  | ☐ - No | The school or ELS may want to consider engaging a Licensed Asbestos Assessor to confirm the presence of asbestos in sand-based products and determine the scope of remediation required. |
| Q2 | Has the Licensed Asbestos Assessor provided a written report of the findings? | ☐ - Yes | Proceed to Question 3 |
|  |  | ☐ - No | The school or ELS may want to consider requesting a written report from the Licensed Asbestos Assessor to confirm the scope of work and justify its extent. |
| Q3 | Has the Licensed Asbestos Assessor carried out any source testing of the material? Note: Swabbing is not permitted | ☐ - Yes | Proceed to Question 4 |
|  |  | ☐ - No | The school or ELS may want to consider engaging the Licensed Asbestos Assessor to carry out source sampling of the material in line with current Ministry guidance. This will help confirm whether the sand present in your facilities contains asbestos and warrants remediation. |
| Q4 | Do these test results show that the sand is positive for asbestos? | ☐ - Yes | Proceed to Questions 5 |
|  |  | ☐ - No | The school or ELS may want to consider seeking clarification from the Licensed Asbestos Assessor and the Licensed Asbestos Removal Contractor why remediation is required. |
| Q5 | Does the assessment report clearly identify the presence and location of sand? Does the report include a clearly marked floor plan and photos? This may include soft furnishing / porous items. | ☐ - Yes | Proceed to Question 6 |
|  |  | ☐ - No | The school or ELS may want to consider seeking clarification from the Licensed Asbestos Assessor regarding the remediation requirements based on the results. |
| Q6 | Does the scope provided by the Licensed Asbestos Assessor specify whether remediation is localised to a specific area (xm2) or widespread throughout a room(s) with justification? | ☐ - Localised Justified | Proceed to Question 7 |
|  |  | ☐ - Widespread Justified | Proceed to Question 7 |
|  |  | ☐ - Widespread No Justification | The school or ELS may want to consider seeking clarification for the areas defined within the scope and getting the Licensed Asbestos Assessor to provide written justification for any decisions made or advice given. |
| Q7 | Does the proposed remediation approach from the Licensed Asbestos Removal Contractor align with the scope recommended by the Licensed Asbestos Assessor? Note: An Asbestos Removal Control Plan should be provided by the Licensed Asbestos Removal Contractor. This is the document that can be used to check against the scope provided by the Licensed Asbestos Assessor. | ☐ - Yes | The remediation appears consistent with the professional opinion and scope provided by the licensed asbestos assessor. The school or ELS may wish to obtain a comparative quote from another Licensed Asbestos Removal Contractor for assurance purposes. |
|  |  | ☐ - No | The school or ELS may want to consider seeking clarification from the Licensed Asbestos Removal Contractor regarding the identified discrepancies. This should include requesting supporting evidence such as a detailed breakdown of associated costs including: - Day rates for operational staff - Estimated time to complete the work - Consumable costs - Travel and disbursement expenses. The school or ELS may also wish to obtain a comparative quote from another Licensed Asbestos Removal Contractor for assurance purposes. |